## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2_x | Peak_Area_SO2_x | Peak_Height_SO2_x | Model_name_x | Peak_Cent_SO2_y | Peak_Area_SO2_y | Peak_Height_SO2_y | Model_name_y | time | preferred_values | lower_values | upper_values
0 | MLP_202_MIA_Rep1 | 0.020328 | 0.0081522 | 0.0071501 | 0.003916 | 102.8016 | 0.018045 | 0.0010522 | 0.018058 | 12.021 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020328 | 0.0081522 | 0.023503 | 0.0074802 | -0.25443 | 0.014251 | SupCrit | 103.0508 | 0.018058 | 1286.2898 | 0.015782 | 120.2558 | 1286.2898 | 123.4882 | 0.42227 | 2.2772 | 0.39122 | 0.84454 | Flagged Warnings: | 1389.3406 | 0.0087753 | 214.0652 | 1389.3406 | 190.9938 | 0.34189 | 0 | 2.6708 | 0.57519 | 0.68378 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 9:08:41 AM | 32921 | [8 empty] | 32921 | 0.99758 | 0.99757 | 0.99759
1 | MLP_203_MIC_Rep2 | -0.023564 | 0 | 0 | 0 | 102.6908 | 0.058028 | 0.0010151 | 0.058162 | 19.973 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | -0.023564 | 0.023357 | -0.019812 | 0.022767 | -0.34236 | 0.046796 | SupCrit | 102.9428 | 0.058162 | 1286.5178 | 0.050858 | 32.9134 | 1286.5178 | 34.5796 | 0.48982 | 2.6412 | 6.8055e-12 | 0.97964 | Flagged Warnings: | 1389.4606 | 0.028218 | 53.0761 | 1389.4606 | 49.8085 | 0.43722 | 0 | 2.4683 | 0.022504 | 0.87444 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 10:07:55 AM | 36475 | [8 empty] | 36475 | 0.99755 | 0.99754 | 0.99756
2 | MLP_203_MIC_Rep3 | 0.0041594 | 0 | 0 | 0 | 102.7608 | 0.032026 | 0.0010084 | 0.032089 | 19.97 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | 0.0041594 | 0.013298 | 0.0075195 | 0.012765 | -0.28652 | 0.025403 | SupCrit | 103.0136 | 0.032089 | 1286.4629 | 0.026139 | 65.0797 | 1286.4629 | 61.9529 | 0.44685 | 2.8196 | 1.7609e-07 | 0.8937 | Flagged Warnings: | 1389.4765 | 0.018614 | 96.901 | 1389.4765 | 88.7503 | 0.42936 | 0 | 2.7212 | 1.0483e-09 | 0.85873 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 10:23:36 AM | 37416 | [8 empty] | 37416 | 0.99755 | 0.99754 | 0.99756
3 | ML22_77_1_MIA | 0.03782 | 0.013023 | 0.012437 | 0.0038644 | 102.8457 | 0.031387 | 0.00099064 | 0.031449 | 12.057 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03782 | 0.013023 | 0.04084 | 0.012578 | -0.22011 | 0.02433 | SupCrit | 103.1008 | 0.031449 | 1286.197 | 0.02651 | 154.8064 | 1286.197 | 172.2133 | 0.49348 | 5.0788 | 0.17073 | 0.98697 | Flagged Warnings: | 1389.2978 | 0.016919 | 287.3385 | 1389.2978 | 274.136 | 0.38478 | 0 | 6.497 | 0.44637 | 0.76955 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 11:21:56 AM | 40916 | 1151.1825 | 395.9105 | 190.2606 | Spline | 1151.1825 | 395.9105 | 190.2606 | Spline | 40916 | 0.99753 | 0.99752 | 0.99754
4 | ML22_77_1_MIB | 0.037919 | 0.013385 | 0.012815 | 0.0038641 | 102.846 | 0.032342 | 0.00098867 | 0.032407 | 12.01 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.037919 | 0.013385 | 0.040938 | 0.012947 | -0.21992 | 0.025063 | SupCrit | 103.1014 | 0.032407 | 1286.1593 | 0.028175 | 92.6284 | 1286.1593 | 113.3718 | 0.48605 | 3.4658 | 0.48596 | 0.9721 | Flagged Warnings: | 1389.2607 | 0.016013 | 143.3463 | 1389.2607 | 149.6429 | 0.46472 | 0 | 3.7793 | 0.15045 | 0.92943 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 11:33:07 AM | 41587 | 1151.212 | 173.9699 | 113.575 | Spline | 1151.212 | 173.9699 | 113.575 | Spline | 41587 | 0.99752 | 0.99751 | 0.99753
5 | ML22_77_2_MIA_Rep1 | 0.027855 | 0.013911 | 0.013355 | 0.003892 | 102.8206 | 0.033705 | 0.00098627 | 0.033775 | 12.029 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.027855 | 0.013911 | 0.030958 | 0.013454 | -0.23961 | 0.026296 | SupCrit | 103.0764 | 0.033775 | 1286.3407 | 0.029144 | 154.6861 | 1286.3407 | 158.439 | 0.41401 | 5.6106 | 0.44191 | 0.82802 | Flagged Warnings: | 1389.417 | 0.017069 | 215.4038 | 1389.417 | 228.2645 | 0.49895 | 0 | 5.8328 | 1.4275e-12 | 0.99791 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 11:52:19 AM | 42739 | 1151.3595 | 172.5439 | 107.9724 | Spline | 1151.3595 | 172.5439 | 107.9724 | Spline | 42739 | 0.99752 | 0.99751 | 0.99753
6 | ML22_77_2_MIA_Rep2 | 0.017901 | 0.011336 | 0.010635 | 0.0039243 | 102.7954 | 0.02684 | 0.00098557 | 0.026888 | 19.99 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.017901 | 0.011336 | 0.021102 | 0.010798 | -0.25922 | 0.021119 | SupCrit | 103.0514 | 0.026888 | 1286.3393 | 0.022957 | 178.5665 | 1286.3393 | 178.4932 | 0.46976 | 6.1007 | 8.9118e-13 | 0.93951 | Flagged Warnings: | 1389.3907 | 0.013999 | 276.7413 | 1389.3907 | 269.7577 | 0.45879 | 0 | 7.4226 | 1.9296e-08 | 0.91757 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 12:00:42 PM | 43242 | 1151.5365 | 255.2829 | 107.3036 | Spline | 1151.5365 | 255.2829 | 107.3036 | Spline | 43242 | 0.99752 | 0.99751 | 0.99753
7 | ML22_77_2_MIB | 0.042521 | 0.011109 | 0.01042 | 0.0038531 | 102.8576 | 0.026297 | 0.00098603 | 0.026344 | 19.98 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.042521 | 0.011109 | 0.045508 | 0.010628 | -0.21096 | 0.020345 | SupCrit | 103.1139 | 0.026344 | 1286.2566 | 0.023179 | 108.2222 | 1286.2566 | 114.1547 | 0.49673 | 3.988 | 1.5079e-10 | 0.99346 | Flagged Warnings: | 1389.3705 | 0.012519 | 177.4717 | 1389.3705 | 189.4228 | 0.47162 | 0 | 4.1707 | 0.18722 | 0.94325 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 12:12:22 PM | 43942 | [8 empty] | 43942 | 0.99751 | 0.9975 | 0.99752
8 | ML22_77_2_MIC | 0.03042 | 0.0087734 | 0.0078667 | 0.0038844 | 102.827 | 0.019853 | 0.00098615 | 0.019878 | 19.965 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03042 | 0.0087734 | 0.0335 | 0.0081648 | -0.23458 | 0.015545 | SupCrit | 103.0835 | 0.019878 | 1286.2883 | 0.017718 | 142.1197 | 1286.2883 | 142.3427 | 0.47087 | 3.6478 | 9.3554e-06 | 0.94173 | Flagged Warnings: | 1389.3718 | 0.009011 | 222.0939 | 1389.3718 | 215.8314 | 0.45237 | 0 | 3.383 | 0.037177 | 0.90474 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 12:23:38 PM | 44618 | [8 empty] | 44618 | 0.99751 | 0.9975 | 0.99752
9 | ML22_77_4_MIA | 0.011602 | 0.0084685 | 0.0074924 | 0.0039471 | 102.7795 | 0.018909 | 0.00099502 | 0.01893 | 12.055 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.011602 | 0.0084685 | 0.014873 | 0.0077938 | -0.2717 | 0.01501 | SupCrit | 103.0364 | 0.01893 | 1286.3486 | 0.016567 | 209.0929 | 1286.3486 | 251.7357 | 0.44409 | 4.4558 | 0.66837 | 0.88819 | Flagged Warnings: | 1389.385 | 0.0091587 | 308.4676 | 1389.385 | 316.6753 | 0.43666 | 0 | 5.0027 | 0.29451 | 0.87333 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 1:17:27 PM | 47847 | 1151.3595 | 676.0617 | 327.8684 | Spline | 1151.3595 | 676.0617 | 327.8684 | Spline | 47847 | 0.99751 | 0.9975 | 0.99752
10 | ML22_77_5_MIB_Rep1 | 0.02705 | 0.016752 | 0.016293 | 0.0038944 | 102.8185 | 0.041119 | 0.0010069 | 0.041209 | 12.019 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.02705 | 0.016752 | 0.03016 | 0.016324 | -0.24119 | 0.032068 | SupCrit | 103.0755 | 0.041209 | 1286.2507 | 0.036424 | 85.7696 | 1286.2507 | 96.9977 | 0.53238 | 4.984 | 7.7757e-12 | 1.0648 | Flagged Warnings: | 1389.3262 | 0.019274 | 140.4201 | 1389.3262 | 144.826 | 0.48364 | 0 | 4.2426 | 8.2943e-09 | 0.96728 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 1:50:05 PM | 49805 | 1151.2415 | 116.6526 | 76.302 | Spline | 1151.2415 | 116.6526 | 76.302 | Spline | 49805 | 0.99751 | 0.9975 | 0.99752
11 | ML22_77_5_MIB_Rep2 | 0.030312 | 0.015134 | 0.014626 | 0.0038847 | 102.8268 | 0.036913 | 0.001009 | 0.036991 | 19.937 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.030312 | 0.015134 | 0.033393 | 0.0147 | -0.23479 | 0.028736 | SupCrit | 103.0837 | 0.036991 | 1286.2555 | 0.03401 | 133.4409 | 1286.2555 | 137.4874 | 0.40363 | 5.1637 | 0.5184 | 0.80726 | Flagged Warnings: | 1389.3392 | 0.014549 | 214.8894 | 1389.3392 | 196.0448 | 0.42829 | 0 | 6.1639 | 1.3134e-11 | 0.85657 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 1:54:50 PM | 50090 | 1151.33 | 179.5654 | 85.725 | Spline | 1151.33 | 179.5654 | 85.725 | Spline | 50090 | 0.99751 | 0.9975 | 0.99752
12 | ML22_88_1_MIC | 0.015242 | 0.0052597 | 0.0034916 | 0.0039337 | 102.7887 | 0.0088118 | 0.0010147 | 0.008775 | 12.038 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015242 | 0.0052597 | 0.018471 | 0.0042199 | -0.26448 | 0.0071983 | SupCrit | 103.0455 | 0.008775 | 1286.3771 | 0.0071726 | 218.1201 | 1286.3771 | 221.869 | 0.45193 | 2.5013 | 0.16921 | 0.90386 | Flagged Warnings: | 1389.4226 | 0.0050552 | 343.7254 | 1389.4226 | 353.6179 | 0.45206 | 0 | 2.4699 | 0.20344 | 0.90413 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 2:08:00 PM | 50880 | [8 empty] | 50880 | 0.99751 | 0.9975 | 0.99752
13 | ML22_88_1_MIE_Rep1 | 0.017312 | 0.0056734 | 0.0040954 | 0.0039263 | 102.7939 | 0.010336 | 0.0010242 | 0.01031 | 12.07 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.017312 | 0.0056734 | 0.020519 | 0.0047216 | -0.26039 | 0.008342 | SupCrit | 103.0506 | 0.01031 | 1286.3845 | 0.0084671 | 178.2808 | 1286.3845 | 182.5539 | 0.45098 | 2.1605 | 0.19775 | 0.90196 | Flagged Warnings: | 1389.4351 | 0.0058831 | 261.963 | 1389.4351 | 257.632 | 0.44398 | 0 | 2.2642 | 0.12218 | 0.88796 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '17s'] | 2:26:03 PM | 51963 | [8 empty] | 51963 | 0.99751 | 0.9975 | 0.99752
14 | ML22_88_1_MIE_Rep2 | 0.021521 | 0.0055683 | 0.0039627 | 0.003912 | 102.8046 | 0.010001 | 0.0010282 | 0.0099725 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.021521 | 0.0055683 | 0.024685 | 0.0046106 | -0.25207 | 0.0080645 | SupCrit | 103.0611 | 0.0099725 | 1286.3796 | 0.0080836 | 177.0596 | 1286.3796 | 182.529 | 0.42676 | 2.0299 | 0.37089 | 0.85352 | Flagged Warnings: | 1389.4408 | 0.0058401 | 268.6346 | 1389.4408 | 263.4941 | 0.43516 | 0 | 2.329 | 0.17511 | 0.87031 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 2:32:57 PM | 52377 | [8 empty] | 52377 | 0.99751 | 0.9975 | 0.99752
15 | ML22_88_1_MIF_Rep1 | 0.018373 | 0.016692 | 0.016225 | 0.0039226 | 102.7966 | 0.040947 | 0.0010337 | 0.041037 | 14.993 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018373 | 0.016692 | 0.02157 | 0.016237 | -0.25829 | 0.032126 | SupCrit | 103.0531 | 0.041037 | 1286.3575 | 0.033616 | 42.1989 | 1286.3575 | 44.8777 | 0.46718 | 1.9276 | 0.21399 | 0.93436 | Flagged Warnings: | 1389.4106 | 0.023536 | 55.4166 | 1389.4106 | 59.4977 | 0.47972 | 0 | 2.1026 | 0.14643 | 0.95944 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 60 | 3 | 50 | ['0h', '3m', '2s'] | 2:42:12 PM | 52932 | [8 empty] | 52932 | 0.99751 | 0.9975 | 0.99752
16 | ML22_88_1_MIF_Rep2 | -0.0037863 | 0 | 0 | 0 | 102.7407 | 0.021617 | 0.0010361 | 0.021646 | 19.944 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | -0.0037863 | 0.009458 | -0.0003229 | 0.0087938 | -0.30241 | 0.017304 | SupCrit | 102.9969 | 0.021646 | 1286.4348 | 0.017907 | 94.4655 | 1286.4348 | 92.0406 | 0.45871 | 2.6626 | 2.0671e-06 | 0.91741 | Flagged Warnings: | 1389.4317 | 0.012161 | 147.2006 | 1389.4317 | 139.7498 | 0.41219 | 0 | 2.8421 | 0.23012 | 0.82438 | Flagged Warnings: | [15 empty] | September 26, 2023 | September | 26 | 60 | 3 | 50 | ['0h', '3m', '1s'] | 2:47:05 PM | 53225 | [8 empty] | 53225 | 0.99751 | 0.9975 | 0.99752